## Sites
Sites
Notes: Define your Sites (ACI Fabrics) Here. This Section is Required
Type | Site_ID | Site_Name | APIC_URL | Sensitive_Var_Location | TF_Cloud_Org | VCS_Base_Repo | Workspace_Prefix | BGP_AS | Street_Address | SNMP_Location | Contract_Identifier | Customer_Identifier | Site_Identifier
site_id | 1 | DC1 | https://brahma-apic1.rich.ciscolabs.com | tf_cloud | Cisco-IST-TigerTeam | scotttyso/iac | tyscott | 65501 | 5555 Some Street RTP, NC 95000 | DC1 | sensitive_var1 | sensitive_var1 | sensitive_var1
site_id | 2 | DC2 | https://brahma-apic2.rich.ciscolabs.com | tf_cloud | Cisco_IST-TigerTeam | scotttyso/iac | tyscott | 65502 | 5555 Some Street San Jose, CA 95000 | DC2 | sensitive_var2 | sensitive_var1 | sensitive_var2
Site Groups
Notes: This will be the Grouping of the Sites that you can assign Policy to in the Other Tabs. To Create a Group you must have at least two Sites. This will allow for re-using the same policies and stretching bridge domains/EPG's between locations. This section is not required if you do not want to group any sites together or if you only have one ACI Fabric.
Type | Group | Site_1 | Site_2 | Site_3 | Site_4 | Site_5 | Site_6 | Site_7 | Site_8 | Site_9 | Site_10 | Site_11 | Site_12
grp_id | Grp_A | Site_1: 1; Site_2: 2
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: Tyson Scott (tyscott): Select a Unique ID per ACI Fabric
Note on C3: [REQUIRED] Give the APIC Fabric a Unique Name. The Name must be alphanumeric and may include undercscore. Do not put spaces in the name.
Note on D3: [REQUIRED] Enter the URL for one of the sites APICs.
Note on E3: [REQUIRED] This is used to set the location that Varliables that should not be stored in the terraform state file should be stored. * environment - will first check to see if you have configured an environment variable and if not create it. * tf_cloud - will check to see if the variable has been added to the workspace and if not add it to the workspace.
Note on F3: [REQUIRED] - If Implimenting in Terraform Cloud This is only necessary if you will be using Terraform Cloud to run the plan and store the remote State File.
Note on G3: [REQUIRED] - If Implimenting in Terraform Cloud This Script will automatically Create the following Directory structure when run. For Example if DC1 is the name of your Site, the following would be created: * ACI/DC1/Access * ACI/DC1/Admin * ACI/DC1/Fabric * ACI/DC1/Tenant_common * ACI/DC1/Tenant_infra * ACI/DC1/Tenant_mgmt * ACI/DC1/Tenant_{your_tenant} * ACI/DC1/{leaf_name} * ACI/DC1/{spine_name} When Terraform Cloud is used to Store this information a Workspace will be created for each directory and within the workspace we need to point back to the Version Control System Repo where the files will reside.
Note on H3: [Optional] When Terraform Cloud is being used the Script will Automatically Create the Workspaces for this workbook. In Example: If the name of the Site is DC1 the script will create the following Workspaces: * ACI_DC1_Access * ACI_DC1_Admin * ACI_DC1_Fabric * ACI_DC1_Tenant_common * ACI_DC1_Tenant_infra * ACI_DC1_Tenant_mgmt * ACI_DC1_Tenant_{your_tenant} * ACI_DC1_{leaf_name} * ACI_DC1_{spine_name} But it may be desirable to add a prefix to the name of the Workspace, especially for testing. i.e. * {prefix_value}_ACI_DC1_Acces
Note on I3: [REQUIRED] The BGP Autonomous System Number for the ACI Fabric
Note on J3: [Optional] This VAR will be used for Smart CallHome Address
Note on K3: [Optional] This VAR will be used for the SNMP Location
Note on L3: [REQUIRED] - If Configuring Smart CallHome The Contract ID is used by the Smart CallHome Feature, defined on the Fabric Worksheet. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: Contract_ID_{number} The Number will be based on the sensitive_var{number}
Note on M3: [REQUIRED] - If Configuring Smart CallHome The Customer ID is used by the Smart CallHome Feature, defined on the Fabric Worksheet. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: Customer_Identifier_{number} The Number will be based on the sensitive_var{number}
Note on N3: [REQUIRED] - If Configuring Smart CallHome The Site ID is used by the Smart CallHome Feature, defined on the Fabric Worksheet. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: Site_Identifier_{number} The Number will be based on the sensitive_var{number}
Note on A19: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B19: [REQUIRED] Select a Unique Group Identifier and the sites to be associated to it.

## Best_Practices
Fabric > Access Policies > Global > Error Disabled Recovery Policy
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The Site Group would be the only thing to change depending on the sites you want to configure.
Type | Site_Group | Recovery_Interval | EP_Move | BPDU_Guard | MCP_Loop
error_recovery | Grp_A | 300 | yes | yes | yes
Fabric > Access Policies > Global > MCP Instance Policy default
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The description is an exception. The Site Group would be the only thing to change depending on the sites you want to configure.
Type | Site_Group | Description | Admin_State | Control | MCP_Key | Detect_Multiplier | Loop_Action | Initial_Delay | Frequency_Seconds | Frequency_msec
mcp_policy | Grp_A | Default MCP PDU per VLAN Policy | enabled | yes | sensitive_var1 | 3 | yes | 180 | 2 | 0
Fabric Settings
***Important Note*** - Site Group, APIC Connectivity Preference, descriptions, and feature_selection would be the only thing that might change depending on your deployment. The rest of the values should typically be left at the provided values below for best practice
|  | System Settings > APIC Connectivity Preference | System Settings > Coop Group | Fabric > Policies > Monitoring > Fabric Node Controls > default |  |  | Fabric > Fabric Policies > Policies > Interface > L3 Interface > default |  |  | Fabric > Access Policies > Global > QOS Class
Type | Site_Group | MGMT_Pref | Type | Description | Enable_DOM | Feature_Selection | name_alias | L3_Description | BFD_ISIS_Policy | Preserve_CoS
fabric_settings | Grp_A | ooband | strict | Configured by Terraform | 1 | telemetry |  | Fabric/Underlay BFD Policy to enable BFD on Fabric Uplinks | enabled | yes
System Settings > Endpoint Controls
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The Site Group would be the only thing to change depending on the sites you want to configure.
|  | Ep Loop Protection |  |  |  |  | Rogue EP Control |  |  |  | Ip Aging
Type | Site_Group | EP_Loop_State | EP_Loop_Interval | EP_Loop_Multiplier | BD_Learn_Disable | Port_Disable | Rogue_State | Rogue_Interval | Rogue_Multiplier | Hold_Interval | IP_Aging_State
ep_controls | Grp_A | enabled | 60 | 4 | no | no | enabled | 30 | 6 | 1800 | enabled
System Settings > Fabric Wide Settings & Port Tracking
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The Site Group would be the only thing to change depending on the sites you want to configure.
|  | Fabric Wide Settings | [6 empty] | Port Tracking
Type | Site_Group | Disable_Remote_EP_Learn | Enforce_Subnet | EPG_VLAN_Validate | Domain_Validation | Opflex_Auth | Reallocate_Gipo | Restrict_Infra_VLAN | Tracking_state | Delay_Timer | Min_Links | APIC_Ports
fabric_wide | Grp_A | yes | yes | no | yes | yes | no | no | on | 120 | 0 | no
System Settings > ISIS Policy
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The Site Group would be the only thing to change depending on the sites you want to configure.
Type | Site_Group | ISIS_MTU | ISIS_Metric | LSP_Flood_Mode | LSP_Initial_Interval | LSP_Max_Interval | LSP_Second_Interval | SPF_Initial_Interval | SPF_Max_Interval | SPF_Second_Interval
isis_policy | Grp_A | 1492 | 63 | enabled | 50 | 8000 | 50 | 50 | 8000 | 50
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C3: [REQUIRED] Sets the error disable recovery interval, which specifies the time to recover from an error-disabled state. The interval range is from 30 seconds to 65535 seconds. The default is 300 seconds.
Note on D3: [REQUIRED] Set to yes to recover from Frequent EP move events.
Note on E3: [REQUIRED] Set to yes to recover from BPDU Guard events.
Note on F3: [REQUIRED] Set to yes to recover from Loop indication by MCP events.
Note on A9: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B9: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C9: [Optional] Additional descriptive information on the policy.
Note on D9: [REQUIRED] The administrative state of the MCP instance policy. The state can be: enabled disabled The APIC default is disabled. We recommend enabled.
Note on E9: [REQUIRED] When the value is yes, it enables "Enable MCP PDU per VLAN". When the value is no, it disables "Enable MCP PDU per VLAN".
Note on F9: [REQUIRED] The key or password to uniquely identify the MCP packets within this fabric. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: mcp_key_{number} The Number will be based on the sensitive_var{number}
Note on G9: [REQUIRED] The multiplication factor that MCP uses to determine when a loop is formed. It denotes the number of continuous packets a port has to receive before claiming a loop is formed. The range is from 1 to 255. The default is 3.
Note on H9: [REQUIRED] yes equals Port Disable and log If this is no, then policy will be in log only mode
Note on I9: [REQUIRED] The delay time before the MCP starts taking action based on the value of the Loop Protection Action, which is a value configured by the user. From the system bootup until the Initial Delay Timer timeout, MCP will only create a syslog entry if a loop is detected. The range is from 0 to 1800 seconds. The default is 180 seconds.
Note on J9: [REQUIRED] Sets the transmission frequency of the instance advertisements. The range is from 100 milliseconds to 300 seconds. The default is 2 seconds.
Note on K9: [REQUIRED]
Note on C15: Tyson Scott (tyscott): The preferred management connectivity preference. Options are: inband—Executes in-band management connectivity between the APIC server to external devices through leaf switches on the ACI fabric. ooband—Executes out-of-band management connectivity between the APIC server to external devices through connections external to the ACI fabric.
Note on D15: Tyson Scott (tyscott): Council of Oracle Protocol (COOP) is used to communicate the mapping information (location and identity) to the spine proxy. A leaf switch forwards endpoint address information to the spine switch 'Oracle' using Zero Message Queue (ZMQ). COOP running on the spine nodes will ensure all spine nodes maintain a consistent copy of endpoint address and location information and additionally maintain the distributed hash table (DHT) repository of endpoint identity to location mapping database.
Note on A16: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B16: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C16: [REQUIRED] The preferred management connectivity preference. Options are: inband—Executes in-band management connectivity between the APIC server to external devices through leaf switches on the ACI fabric. ooband—Executes out-of-band management connectivity between the APIC server to external devices through connections external to the ACI fabric.
Note on D16: [REQUIRED] COOP protocol is enhanced to support two ZMQ authentication modes: compatible — COOP accepts both MD5 authenticated and non-authenticated ZMQ connections for message transportation. Note: The APIC provides a managed object (fabric:SecurityToken), that includes an attribute to be used for the MD5 password. An attribute in this managed object, called "token", is a string that changes every hour. COOP obtains the notification from the DME to update the password for ZMQ authentication. The attribute token value is not displayed. strict — COOP allows MD5 authenticated ZMQ connections only. The APIC default is compatible. Best Practice is strict.
Note on E16: [Optional]: The description of the fabric node control. The description can be up to 128 alphanumeric characters.
Note on F16: [REQUIRED] A check box that enables or disables digital optical monitoring (DOM) for the fabric node control.
Note on G16: [REQUIRED] ACI switch hardware supports either NetFlow or Cisco Tetration Analytics, but not both. If the APIC pushes both Cisco Tetration Analytics and NetFlow configurations to a particular node, the chosen priority flag alerts the switch as to which feature should be given priority. The other feature’s configuration is ignored. The feature selections are: analytics — Analytic priority downloads the Cisco Tetration Analytics sensor software for installation on the switches. netflow — Netflow priority downloads and installs the Cisco Netflow configuration on the switches to analyze network traffic. telemetry — Telemetry priority is used in conjunction with the Network Insight Resources APIC App. This policy enables Cisco Telemetry configuration on the switches to analyze network traffic. The default/recommendation is telemetry.
Note on H16: [Optional]: A changeable name for a given object. While the name of an object, once created, can’t be changed, the Alias is a field that can be changed.
Note on I16: [Optional] Description of the policy.
Note on J16: [REQUIRED] State ( enabled or disabled) of the BFD-IS-IS policy configuration. This setting will configure BFD for the Fabric/Underlay Uplink Interfaces when enabled.
Note on K16: [REQUIRED] Select yes to enable CoS Preservation, to guarantee the QoS priority settings of the various traffic streams, in a single-pod topology. In multipod topologies, use a DSCP policy to enable preserving QoS priority mapping for the traffic streams as they transit the inter-pod network. QoS Class—Priority flow control requires that CoS levels be globally enabled for the fabric and assigned to the profiles of applications that generate FCoE traffic.
Note on C22: Tyson Scott (tyscott): The endpoint loop protection policy specifies how loops detected by frequent MAC moves are handled.
Note on H22: Tyson Scott (tyscott): A rogue endpoint can attack top of rack (ToR) switches through frequently, repeatedly injecting packets on different ToR ports and changing 802.1Q tags (emulating endpoint moves), resulting in learned sclass and EPG port changes. Misconfigurations can also cause frequent IP and MAC addresss changes (moves). The Rogue EP Control feature addresses this vulnerability.
Note on L22: Tyson Scott (tyscott): When enabled, the IP aging policy ages unused IPs on an endpoint. When the Administrative State is enabled, the IP aging policy sends ARP requests (for IPv4) and neighbor solicitations (for IPv6) to track IPs on endpoints. If no response is given, the policy ages the unused IPs. Required: The endpoint retention policy specifies the timer used for tracking IPs on endpoints.
Note on A23: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B23: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C23: [REQUIRED] The administrative state of the endpoint loop protection policy. The value can be disabled or enabled. The APIC default is disabled. We recommend enabled
Note on D23: [REQUIRED] Sets the loop detection interval, which specifies the time to detect a loop. The interval range is from 30 to 300 seconds. The default setting is 60 seconds.
Note on E23: [REQUIRED] Sets the loop detection multiplication factor, which is the number of times a single EP moves between ports within the loop detection interval. The range is from 1 to 255. The default is 4.
Note on F23: [REQUIRED] Action to disable BD Learning
Note on G23: [REQUIRED] Action to Disable Port
Note on H23: [REQUIRED] The administrative state of the Rogue EP Control policy. Choose Disabled or Enabled. The APIC default is Disabled. We recommend it to be enabled
Note on I23: [REQUIRED] Sets the Rogue EP detection interval, which specifies the time to detect rogue endpoints. Valid values are from 0 to 65535 seconds. The APIC default is 60. We recommend it to be 30.
Note on J23: [REQUIRED] Sets the Rogue EP Detection multiplication factor for determining if an endpoint is unauthorized. If the endpoint moves more times than this number, within the EP detection interval, the endpoint is declared rogue. Valid values are from 2 to 10. The APIC default is 4. We recommend it to be 6. Note: The supported Rogue EP Detection Multiplication Factor range is 2 to 10.
Note on K23: [REQUIRED] Interval in seconds after the endpoint is declared rogue, where it is kept static so learning is prevented and the traffic to and from the Rogue endpoint is dropped. After this interval, the endpoint is deleted. Valid values are from 1800 to 3600. The default is 1800. Note: The supported hold interval range is 1800 to 3600 seconds
Note on L23: [REQUIRED] Enables and disables the IP aging policy. enabled—APIC observes the IP aging policy. disabled—APIC disregards the IP aging policy.
Note on C29: Tyson Scott (tyscott): The scope of these policies is fabric-wide. After configuration, a policy is pushed to each leaf switch as it comes up.
Note on J29: Tyson Scott (tyscott): The port tracking policy monitors the status of links between leaf switches and spine switches. When an enabled port tracking policy is triggered, the leaf switches take down all access interfaces on the switch that have EPGs deployed on them.
Note on A30: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B30: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C30: [REQUIRED] To disable remote endpoint learning in VRFs containing external bridged/routed domains
Note on D30: [REQUIRED] To disable IP address learning on the outside of subnets configured in a VRF, for all VRFs
Note on E30: [REQUIRED] Validation check that prevents overlapping VLAN pools from being associated to an EPG
Note on F30: [REQUIRED] Validation check if a static path is added but no domain is associated to an EPG
Note on G30: [REQUIRED] To enforce Opflex client certificate authentication for GOLF and Linux
Note on H30: [REQUIRED] Reallocate some non-stretched BD gipos to make room for stretched BDs
Note on I30: [REQUIRED] Enable to restrict infra VLAN traffic to only specified networks paths. These enabled network paths are defined by infra security entry policies
Note on J30: [REQUIRED] The administrative port tracking state. The state can be: off on The APIC default is off. We recommend on.
Note on K30: [REQUIRED] The timer that controls the delay restore interval time in seconds. The range is from 1 second to 300 seconds. The default interval time is 120 seconds.
Note on L30: [REQUIRED] Number of active spine links that triggers port tracking. The range is from 0 to 12. The default is zero (0).
Note on M30: [REQUIRED] Note: This knob enables bringing down the ports connected to APIC, in case the leaf loses reachability to the fabric (0 fabric links). So please ensure knob is selected only if the APIC(s) are dual or multi homed to the fabric.
Note on A36: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B36: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C36: [REQUIRED] The IS-IS Domain policy LSP MTU. The MTU is from 128 to 4352. The default is 1492.
Note on D36: [REQUIRED] The IS-IS metric that is used for all imported routes into IS-IS. The values available are from 1 to 63. The default value is 63.
Note on E36: [REQUIRED] The IS-IS Fast-Flooding of LSPs improves Intermediate System-to-Intermediate System (IS-IS) convergence time when new link-state packets (LSPs) are generated in the network and shortest path first (SPF) is triggered by the new LSPs. The mode can be: enabled disabled The default is enabled.
Note on F36: [REQUIRED] The LSP generation initial wait interval. This is used in the LSP generation interval for the LSP MTU. The default is 50.
Note on G36: [REQUIRED] The LSP generation maximum wait interval. This is used in the LSP generation interval for the LSP MTU. The default is 8000.
Note on H36: [REQUIRED] The LSP generation second wait interval. This is used in the LSP generation interval for the LSP MTU. The default is 50.
Note on I36: [REQUIRED] The SPF computation frequency initial wait interval. This is used in the SPF computations for the LSP MTU. The default is 50.
Note on J36: [REQUIRED] The SPF computation frequency maximum wait interval. This is used in the SPF computations for the LSP MTU. The default is 8000.
Note on K36: [REQUIRED] The SPF computation frequency second wait interval. This is used in the SPF computations for the LSP MTU. The default is 50.

## Tenants
Create Tenants
**Notes: - Keep your names simple. It will save you time when troubleshooting; Between 1 and 10 characters, (Many CLI Commands have a 10 Character limit on Display Fields).
Type | Site_Group | Tenant | Description
add_tenant | Grp_A | prod | Updated Tenant Description
add_tenant | Grp_A | dmz | Example DMZ Tenant
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C3: [REQUIRED] Tenant Name can be up to 64 alphanumeric characters + underscore "_" or dash "-".
Note on D3: [Optional] Description to add to the Object

## VRF
Create VRF's
**Important Notes** * Keep your names simple. It will save you time when troubleshooting. Most CLI commands have a 10 character limit on the display field. So if your VRF Name is longer than 10 characters it will wrap and be harder to read. * We Recommend Putting the VRFs in the Common Tenant, to simplify routing between VRFs (if ever desired now or in the future), it will save you time from having to create import/export route control policies. * Many Integrations also need the VRF in the Common Tenant, like Kubernetes CNI. - Type: This will always be add_vrf. - Site_Group: Required. Assign either the individual site or a group of sites to assign this VRF configuration to. - Tenant: Required. Name of the Tenant. - VRF: Required. Name of the Tenant. - Description: Optional - VRF Policy: Required. This is defined on the "Network Policies" Worksheet.
Type | Site_Group | Tenant | VRF | Description | VRF_Policy
add_vrf | Grp_A | common | dmz | DMZ VRF | default_vzany
add_vrf | Grp_A | common | prod | Production VRF | default_pg
add_vrf | Grp_A | common | dmz | DMZ VRF | default_ct
Create SNMP Context Communities
**Important Notes** * This Section is only necessary if you want a "SNMP Context Community" Defined. An SNMP Context was created as part of the VRF Creation. * Note: a Community can only be used within the context when assigned to it. But a Fabric Wide SNMP Community can be used for an SNMP Context when qualified with the Context. - For Example to get Inband IPv4 Management Address without an SNMP Community assigned to the VRF SNMP Context you would do: [tyscott@lnx1 ~]$ snmpwalk -c isitgoodenough@inb -v2c asgard-leaf101.rich.ciscolabs.com ipAddressPrefixOrigin.335544322.ipv4 IP-MIB::ipAddressPrefixOrigin.335544322.ipv4."192.168.169.251".32 = INTEGER: manual(2) [tyscott@lnx1 ~]$ - inb is the name of the context created by the script for VRF inb. To Query the Same parameter with a Community assigned to the inb Context you would do: [tyscott@lnx1 ~]$ snmpwalk -c walkthisway -v2c asgard-leaf101.rich.ciscolabs.com ipAddressPrefixOrigin.335544322.ipv4 IP-MIB::ipAddressPrefixOrigin.335544322.ipv4."192.168.169.251".32 = INTEGER: manual(2) [tyscott@lnx1 ~]$ - Note that "walkthisway" can only be used with the "inb" SNMP Context since it is assigned to it, while the community "isitgoodenough" can be used Fabric wide. * See SNMP Configuration Guide: https://www.cisco.com/c/dam/en/us/solutions/collateral/data-center-virtualization/application-centric-infrastructure/aci-guide-configuring-snmp.pdf for more information * Note: The Context_Community Field is Hidden but displays in the Formula Bar when the cell is selected
Type | Site_Group | Tenant | VRF | Description | Ctx_Community
ctx_comm | Grp_A | mgmt | inb | Inband Context | walkthisway
ctx_comm | Grp_A | mgmt | oob | OOB Context | talkthisway
|  | infra | infra | infra Context
|  | common | prod | Production Context | cisco123
|  | common | dmz | DMZ Context | cisco123
cisco123
cisco123
cisco123
cisco123
cisco123
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C3: [REQUIRED] Tenant Name can be up to 64 alphanumeric characters + underscore "_" or dash "-".
Note on E3: [Optional] Description to add to the Object
Note on A19: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B19: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C19: [REQUIRED] Tenant Name can be up to 64 alphanumeric characters + underscore "_" or dash "-".
Note on E19: [Optional] Description to add to the Object

## L3Out
Create L3Outs
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance. Note: Name the Layer3 out differently at each DC. There is a restriction related to shadow objects pushed from MSC that may at times prevent communication for non stretched BD's between Data Centers https://bst.cloudapps.cisco.com/bugsearch/bug/CSCvs86894. MSITE L3Out isn't affected by this
Type | Site_Group | Tenant | VRF | L3_Out | Description | L3Out_Policy | L3_Domain | Ext_EPG | EPG_Description | Ext_EPG_Policy | Subnet | Ext_Subnet_Policy
add_l3out | 1 | common | prod | dc1-prod_L3 | DC1 Production L3Out | default | L3Out | prod_Ext | Production External EPG | default | 0.0.0.0/1,128.0.0.0/1 | default
add_l3out | 2 | common | prod | dc2-prod_L3 | DC2 Production L3Out | default | L3Out | prod_Ext | Production External EPG | default | 0.0.0.0/1,128.0.0.0/1 | default
add_l3out | 1 | common | dmz | dc1-dmz_L3 | DC1 DMZ L3Out | default | L3Out | dmz_Ext | DMZ External EPG | default | 0.0.0.0/1 | default
add_l3out | 2 | common | dmz | dc2-dmz_L3 | DC2 DMZ L3Out | default | L3Out | dmz_Ext | DMZ External EPG | default | 0.0.0.0/1 | default
add_l3out | Grp_A | mgmt | inb | inband_L3 | Inband L3Out | default | L3Out | inb_Ext | Inband External EPG | default | 0.0.0.0/1 | default
| Grp_A | infra | overlay-1 | msite_L3 | Multi-Site L3Out | default | L3Out | msite | MultiSite External EPG | default | 0.0.0.0/1 | default
L3 Node Profile
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Pod_ID | Tenant | NodeP_Name | Description | L3_Out | Node_Policies | Node1_ID | Node1_Router_ID | Node1_Loopback | Node2_ID | Node2_Router_ID | Node2_Loopback
| 1 | 1 | infra | dc1-spine101 | DC1 spine101 MultiSite Connectivity | msite_L3 | default | 101 | 198.18.251.101 | yes
| 1 | 1 | infra | dc1-spine102 | DC1 spine102 MultiSite Connectivity | msite_L3 | default | 102 | 198.18.251.102 | yes
| 2 | 1 | infra | dc2-spine101 | DC2 spine101 MultiSite Connectivity | msite_L3 | default | 101 | 198.19.251.101 | yes
| 2 | 1 | infra | dc2-spine102 | DC2 spine102 MultiSite Connectivity | msite_L3 | default | 102 | 198.19.251.102 | yes
| 1 | 1 | common | dc1-leaf201-202-svi911 | DC1 Border Leaf to Core leaf201 and leaf202 | dc1-prod_L3 | default | 201 | 198.18.252.201 | yes | 202 | 198.18.253.1 | yes
| 2 | 1 | common | dc2-leaf201-202-svi921 | DC2 Border Leaf to Core leaf201 and leaf202 | dc2-prod_L3 | default | 201 | 198.19.252.201 | yes | 202 | 198.19.253.1 | yes
| 1 | 1 | common | dc1-leaf201 | dc1-leaf201 to Core | dc1-dmz_L3 | default | 201 | 198.18.253.201 | yes
| 1 | 1 | common | dc1-leaf202 | dc1-leaf202 to Core | dc1-dmz_L3 | default | 202 | 198.18.253.202 | yes
| 2 | 1 | common | dc2-leaf201 | dc2-leaf201 to Core | dc2-dmz_L3 | default | 201 | 198.19.253.201 | yes
| 2 | 1 | common | dc2-leaf202 | dc2-leaf202 to Core | dc2-dmz_L3 | default | 202 | 198.19.253.202 | yes
L3 Node Interface Profile
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | L3_Out | NodeP_Name | Interface_Type | Description | Interface_Policies | Node1_ID | Node2_ID | Node1_Intf | Node2_Intf | VLAN | Node1_IP | Node2_IP | BGP_Profile | EIGRP_Profile | OSPF_Profile
| 1 | msite_L3 | dc1-spine101 | sub-interface | dc1-spine101-Eth1-01 to InterSite | msite | 101 |  | 1/1 |  | 4 | 198.18.0.0/31 |  |  |  | area0_p2p
| 1 | msite_L3 | dc1-spine101 | sub-interface | dc1-spine101-Eth1-02 to InterSite | msite | 101 |  | 1/2 |  | 4 | 198.18.0.2/31 |  |  |  | area0_p2p
| 1 | msite_L3 | dc1-spine102 | sub-interface | dc1-spine102-Eth1-01 to InterSite | msite | 102 |  | 1/1 |  | 4 | 198.18.0.4/31 |  |  |  | area0_p2p
| 1 | msite_L3 | dc1-spine102 | sub-interface | dc1-spine102-Eth1-02 to InterSite | msite | 102 |  | 1/2 |  | 4 | 198.18.0.6/31 |  |  |  | area0_p2p
| 2 | msite_L3 | dc2-spine101 | sub-interface | dc2-spine101-Eth1-01 to InterSite | msite | 101 |  | 1/1 |  | 4 | 198.19.0.0/31 |  |  |  | area0_p2p
| 2 | msite_L3 | dc2-spine101 | sub-interface | dc2-spine101-Eth1-02 to InterSite | msite | 101 |  | 1/2 |  | 4 | 198.19.0.2/31 |  |  |  | area0_p2p
| 2 | msite_L3 | dc2-spine102 | sub-interface | dc2-spine102-Eth1-01 to InterSite | msite | 102 |  | 1/1 |  | 4 | 198.19.0.4/31 |  |  |  | area0_p2p
| 2 | msite_L3 | dc2-spine102 | sub-interface | dc2-spine102-Eth1-02 to InterSite | msite | 102 |  | 1/2 |  | 4 | 198.19.0.6/31 |  |  |  | area0_p2p
| 1 | dc1-prod_L3 | dc1-leaf201-202-svi911 | svi | DC1 leaf101-102 vpc to Core | default | 201 | 202 | 1/1 | 1/1 | 911 | 198.18.0.9/29 | 198.18.0.10/29
| 2 | dc2-prod_L3 | dc2-leaf201-202-svi921 | svi | DC2 leaf101-102 vpc to Core | default | 201 | 202 | 1/1 | 1/1 | 921 | 198.19.0.9/29 | 198.19.0.10/29
| 1 | dc1-dmz_L3 | dc1-leaf201 | Routed Interface | dc1-leaf201-Eth1-48 to Core | default | 201 |  | 1/48 |  |  | 198.18.0.16/31
| 1 | dc1-dmz_L3 | dc1-leaf202 | Routed Interface | dc1-leaf202-Eth1-48 to Core | default | 202 |  | 1/48 |  |  | 198.18.0.18/31
| 2 | dc1-dmz_L3 | dc2-leaf201 | Routed Interface | dc2-leaf201-Eth1-48 to Core | default |  |  | 1/48 |  |  | 198.19.0.16/31
| 2 | dc1-dmz_L3 | dc2-leaf202 | Routed Interface | dc2-leaf202-Eth1-48 to Core | default |  |  | 1/48 |  |  | 198.19.0.18/31
BGP Profile
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Which Tenant to Create the Interface Policy In |  | Go To Network Policies Tab Name for Policy | Description for OSPF Interface Profile | OSPF Area Type | OSPF Area | OSPF Network Type | OSPF Interface Cost 0 = unspecified | OSPF Interface Authentication Key | OSPF Interface Priority
Type | Site_Group | L3_Out | NodeP_Name | Node_Profile | Description | Node1_Id | Node1_Router_Id | Node1_Loopback | Node2_Id | Node2_Router_Id | Node2_Loopback
| Grp_A | msite_L3 | dc1-spine101 | default | DC1 spine101 MultiSite Connectivity | 101 | 198.18.251.101 | yes
EIGRP Profile
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Which Tenant to Create the Interface Policy In |  | Go To Network Policies Tab Name for Policy | Description for OSPF Interface Profile | OSPF Area Type | OSPF Area | OSPF Network Type | OSPF Interface Cost 0 = unspecified | OSPF Interface Authentication Key | OSPF Interface Priority
Type | Site_Group | L3_Out | NodeP_Name | Node_Profile | Description | Node1_Id | Node1_Router_Id | Node1_Loopback | Node2_Id | Node2_Router_Id | Node2_Loopback | EIGRP_Profile | OSPF_Profile
| Grp_A | msite_L3 | dc1-spine101 | default | DC1 spine101 MultiSite Connectivity | 101 | 198.18.251.101 | yes
OSPF Profile
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Which Tenant to Create the Interface Policy In |  | Go To Network Policies Tab Name for Policy | Description for OSPF Interface Profile | OSPF Area Type | OSPF Area | OSPF Network Type | OSPF Interface Cost 0 = unspecified | OSPF Interface Authentication Key | OSPF Interface Priority
Type | Site_Group | Tenant | OSPF_Profile | OSPF_Policies | Description | Area_Type | Area | nw_t | cost | key | prio
| Grp_A | common | area0_p2p | p2p | point-to-point Interface Profile | regular | 0 | p2p | 0 |  | 1
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on F3: [Optional] Description to add to the Object
Note on A15: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B15: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on F15: [Optional] Description to add to the Object
Note on A31: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B31: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on F31: [Optional] Description to add to the Object
Note on A52: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B52: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on F52: [Optional] Description to add to the Object
Note on A61: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B61: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on F61: [Optional] Description to add to the Object
Note on A70: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B70: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on F70: [Optional] Description to add to the Object

## Mgmt_Tenant
Inband L3Out
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The Site Group would be the only thing to change depending on the sites you want to configure.
Type | Site_Group | Tenant | VRF | L3_Out | Description | L3Out_Policy | L3_Domain | Ext_EPG | EPG_Description | Ext_EPG_Policy | Subnet | Ext_Subnet_Policy
error_recovery | Grp_A | 300 | yes | yes | yes
Fabric > Access Policies > Global > MCP Instance Policy default
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The description is an exception. The Site Group would be the only thing to change depending on the sites you want to configure.
Type | Site_Group | description | admin_state | controls | mcp_key | detect_multiplier | loop_action | initial_delay | frequency_seconds | frequency_msec
mcp_policy | Grp_A | Default MCP PDU per VLAN Policy | enabled | yes | sensitive_var1 | 3 | yes | 180 | 2 | 0
Fabric Settings
***Important Note*** - Site Group, APIC Connectivity Preference, descriptions, and feature_selection would be the only thing that might change depending on your deployment. The rest of the values should typically be left at the provided values below for best practice
|  | System Settings > APIC Connectivity Preference | System Settings > Coop Group | Fabric > Policies > Monitoring > Fabric Node Controls > default |  |  | Fabric > Fabric Policies > Policies > Interface > L3 Interface > default |  |  | Fabric > Access Policies > Global > QOS Class
Type | Site_Group | mgmt_pref | type | description | enable_dom | feature_selection | alias | l3_description | bfd_isis_policy | preserve_CoS
fabric_settings | Grp_A | ooband | strict | Configured by Terraform | 1 | telemetry |  | Fabric/Underlay BFD Policy to enable BFD on Fabric Uplinks | enabled | yes
System Settings > Endpoint Controls
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The Site Group would be the only thing to change depending on the sites you want to configure.
|  | Ep Loop Protection |  |  |  |  | Rogue EP Control |  |  |  | Ip Aging
Type | Site_Group | ep_loop_state | ep_loop_interval | ep_loop_multiplier | bd_learn_disable | port_disable | rogue_state | rogue_interval | rogue_multiplier | hold_interval | ip_aging_state
ep_controls | Grp_A | enabled | 60 | 4 | no | no | enabled | 30 | 6 | 1800 | enabled
System Settings > Fabric Wide Settings & Port Tracking
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The Site Group would be the only thing to change depending on the sites you want to configure.
|  | Fabric Wide Settings | [6 empty] | Port Tracking
Type | Site_Group | disable_remote_ep_learn | enforce_subnet | epg_vlan_validate | domain_validation | opflex_auth | reallocate_gipo | restrict_infra_vlan | tracking_state | delay_timer | min_links | apic_ports
fabric_wide | Grp_A | yes | yes | no | yes | yes | no | no | on | 120 | 0 | no
System Settings > ISIS Policy
***Important Note*** - We recommend Keeping Everything at the default Values Below; as these are the best practices. The Site Group would be the only thing to change depending on the sites you want to configure.
Type | Site_Group | isis_mtu | isis_metric | lsp_flood_mode | lsp_initial_interval | lsp_max_interval | lsp_second_interval | spf_initial_interval | spf_max_interval | spf_second_interval
isis_policy | Grp_A | 1492 | 63 | enabled | 50 | 8000 | 50 | 50 | 8000 | 50
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A9: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B9: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C9: Tyson Scott (tyscott): Additional descriptive information on the policy.
Note on D9: Tyson Scott (tyscott): The administrative state of the MCP instance policy. The state can be: enabled disabled The APIC default is disabled. We recommend enabled.
Note on E9: Tyson Scott (tyscott): When the value is yes, it enables "Enable MCP PDU per VLAN". When the value is no, it disables "Enable MCP PDU per VLAN".
Note on F9: Tyson Scott (tyscott): The key or password to uniquely identify the MCP packets within this fabric. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: mcp_key_{number} The Number will be based on the sensitive_var{number}
Note on G9: Tyson Scott (tyscott): The multiplication factor that MCP uses to determine when a loop is formed. It denotes the number of continuous packets a port has to receive before claiming a loop is formed. The range is from 1 to 255. The default is 3.
Note on H9: Tyson Scott (tyscott): yes equals Port Disable and log If this is no, then policy will be in log only mode
Note on I9: Tyson Scott (tyscott): The delay time before the MCP starts taking action based on the value of the Loop Protection Action, which is a value configured by the user. From the system bootup until the Initial Delay Timer timeout, MCP will only create a syslog entry if a loop is detected. The range is from 0 to 1800 seconds. The default is 180 seconds.
Note on J9: Tyson Scott (tyscott): Sets the transmission frequency of the instance advertisements. The range is from 100 milliseconds to 300 seconds. The default is 2 seconds.
Note on C15: Tyson Scott (tyscott): The preferred management connectivity preference. Options are: inband—Executes in-band management connectivity between the APIC server to external devices through leaf switches on the ACI fabric. ooband—Executes out-of-band management connectivity between the APIC server to external devices through connections external to the ACI fabric.
Note on D15: Tyson Scott (tyscott): Council of Oracle Protocol (COOP) is used to communicate the mapping information (location and identity) to the spine proxy. A leaf switch forwards endpoint address information to the spine switch 'Oracle' using Zero Message Queue (ZMQ). COOP running on the spine nodes will ensure all spine nodes maintain a consistent copy of endpoint address and location information and additionally maintain the distributed hash table (DHT) repository of endpoint identity to location mapping database.
Note on A16: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B16: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C16: Tyson Scott (tyscott): The preferred management connectivity preference. Options are: inband—Executes in-band management connectivity between the APIC server to external devices through leaf switches on the ACI fabric. ooband—Executes out-of-band management connectivity between the APIC server to external devices through connections external to the ACI fabric.
Note on D16: Tyson Scott (tyscott): COOP protocol is enhanced to support two ZMQ authentication modes: compatible — COOP accepts both MD5 authenticated and non-authenticated ZMQ connections for message transportation. Note: The APIC provides a managed object (fabric:SecurityToken), that includes an attribute to be used for the MD5 password. An attribute in this managed object, called "token", is a string that changes every hour. COOP obtains the notification from the DME to update the password for ZMQ authentication. The attribute token value is not displayed. strict — COOP allows MD5 authenticated ZMQ connections only. The APIC default is compatible. Best Practice is strict.
Note on E16: Tyson Scott (tyscott): The description of the fabric node control. The description can be up to 128 alphanumeric characters.
Note on F16: Tyson Scott (tyscott): A check box that enables or disables digital optical monitoring (DOM) for the fabric node control.
Note on G16: Tyson Scott (tyscott): ACI switch hardware supports either NetFlow or Cisco Tetration Analytics, but not both. If the APIC pushes both Cisco Tetration Analytics and NetFlow configurations to a particular node, the chosen priority flag alerts the switch as to which feature should be given priority. The other feature’s configuration is ignored. The feature selections are: analytics — Analytic priority downloads the Cisco Tetration Analytics sensor software for installation on the switches. netflow — Netflow priority downloads and installs the Cisco Netflow configuration on the switches to analyze network traffic. telemetry — Telemetry priority is used in conjunction with the Network Insight Resources APIC App. This policy enables Cisco Telemetry configuration on the switches to analyze network traffic. The default/recommendation is telemetry.
Note on H16: Tyson Scott (tyscott): A changeable name for a given object. While the name of an object, once created, can’t be changed, the Alias is a field that can be changed.
Note on I16: Tyson Scott (tyscott): Description of the policy.
Note on J16: Tyson Scott (tyscott): State ( enabled or disabled) of the BFD-IS-IS policy configuration. This setting will configure BFD for the Fabric/Underlay Uplink Interfaces when enabled.
Note on K16: Tyson Scott (tyscott): Select yes to enable CoS Preservation, to guarantee the QoS priority settings of the various traffic streams, in a single-pod topology. In multipod topologies, use a DSCP policy to enable preserving QoS priority mapping for the traffic streams as they transit the inter-pod network. QoS Class—Priority flow control requires that CoS levels be globally enabled for the fabric and assigned to the profiles of applications that generate FCoE traffic.
Note on C22: Tyson Scott (tyscott): The endpoint loop protection policy specifies how loops detected by frequent MAC moves are handled.
Note on H22: Tyson Scott (tyscott): A rogue endpoint can attack top of rack (ToR) switches through frequently, repeatedly injecting packets on different ToR ports and changing 802.1Q tags (emulating endpoint moves), resulting in learned sclass and EPG port changes. Misconfigurations can also cause frequent IP and MAC addresss changes (moves). The Rogue EP Control feature addresses this vulnerability.
Note on L22: Tyson Scott (tyscott): When enabled, the IP aging policy ages unused IPs on an endpoint. When the Administrative State is enabled, the IP aging policy sends ARP requests (for IPv4) and neighbor solicitations (for IPv6) to track IPs on endpoints. If no response is given, the policy ages the unused IPs. Required: The endpoint retention policy specifies the timer used for tracking IPs on endpoints.
Note on A23: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B23: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C23: Tyson Scott (tyscott): The administrative state of the endpoint loop protection policy. The value can be disabled or enabled. The APIC default is disabled. We recommend enabled
Note on D23: Tyson Scott (tyscott): Sets the loop detection interval, which specifies the time to detect a loop. The interval range is from 30 to 300 seconds. The default setting is 60 seconds.
Note on E23: Tyson Scott (tyscott): Sets the loop detection multiplication factor, which is the number of times a single EP moves between ports within the loop detection interval. The range is from 1 to 255. The default is 4.
Note on F23: Tyson Scott (tyscott): Action to disable BD Learning
Note on G23: Tyson Scott (tyscott): Action to Disable Port
Note on H23: Tyson Scott (tyscott): The administrative state of the Rogue EP Control policy. Choose Disabled or Enabled. The APIC default is Disabled. We recommend it to be enabled
Note on I23: Tyson Scott (tyscott): Sets the Rogue EP detection interval, which specifies the time to detect rogue endpoints. Valid values are from 0 to 65535 seconds. The APIC default is 60. We recommend it to be 30.
Note on J23: Tyson Scott (tyscott): Sets the Rogue EP Detection multiplication factor for determining if an endpoint is unauthorized. If the endpoint moves more times than this number, within the EP detection interval, the endpoint is declared rogue. Valid values are from 2 to 10. The APIC default is 4. We recommend it to be 6. Note: The supported Rogue EP Detection Multiplication Factor range is 2 to 10.
Note on K23: Tyson Scott (tyscott): Interval in seconds after the endpoint is declared rogue, where it is kept static so learning is prevented and the traffic to and from the Rogue endpoint is dropped. After this interval, the endpoint is deleted. Valid values are from 1800 to 3600. The default is 1800. Note: The supported hold interval range is 1800 to 3600 seconds
Note on L23: Tyson Scott (tyscott): Enables and disables the IP aging policy. enabled—APIC observes the IP aging policy. disabled—APIC disregards the IP aging policy.
Note on C29: Tyson Scott (tyscott): The scope of these policies is fabric-wide. After configuration, a policy is pushed to each leaf switch as it comes up.
Note on J29: Tyson Scott (tyscott): The port tracking policy monitors the status of links between leaf switches and spine switches. When an enabled port tracking policy is triggered, the leaf switches take down all access interfaces on the switch that have EPGs deployed on them.
Note on A30: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B30: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C30: Tyson Scott (tyscott): To disable remote endpoint learning in VRFs containing external bridged/routed domains
Note on D30: Tyson Scott (tyscott): To disable IP address learning on the outside of subnets configured in a VRF, for all VRFs
Note on E30: Tyson Scott (tyscott): Validation check that prevents overlapping VLAN pools from being associated to an EPG
Note on F30: Tyson Scott (tyscott): Validation check if a static path is added but no domain is associated to an EPG
Note on G30: Tyson Scott (tyscott): To enforce Opflex client certificate authentication for GOLF and Linux
Note on H30: Tyson Scott (tyscott): Reallocate some non-stretched BD gipos to make room for stretched BDs
Note on I30: Tyson Scott (tyscott): Enable to restrict infra VLAN traffic to only specified networks paths. These enabled network paths are defined by infra security entry policies
Note on J30: Tyson Scott (tyscott): The administrative port tracking state. The state can be: off on The APIC default is off. We recommend on.
Note on K30: Tyson Scott (tyscott): The timer that controls the delay restore interval time in seconds. The range is from 1 second to 300 seconds. The default interval time is 120 seconds.
Note on L30: Tyson Scott (tyscott): Number of active spine links that triggers port tracking. The range is from 0 to 12. The default is zero (0).
Note on M30: Tyson Scott (tyscott): Note: This knob enables bringing down the ports connected to APIC, in case the leaf loses reachability to the fabric (0 fabric links). So please ensure knob is selected only if the APIC(s) are dual or multi homed to the fabric.
Note on A36: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B36: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C36: Tyson Scott (tyscott): The IS-IS Domain policy LSP MTU. The MTU is from 128 to 4352. The default is 1492.
Note on D36: Tyson Scott (tyscott): The IS-IS metric that is used for all imported routes into IS-IS. The values available are from 1 to 63. The default value is 63.
Note on E36: Tyson Scott (tyscott): The IS-IS Fast-Flooding of LSPs improves Intermediate System-to-Intermediate System (IS-IS) convergence time when new link-state packets (LSPs) are generated in the network and shortest path first (SPF) is triggered by the new LSPs. The mode can be: enabled disabled The default is enabled.
Note on F36: Tyson Scott (tyscott): The LSP generation initial wait interval. This is used in the LSP generation interval for the LSP MTU. The default is 50.
Note on G36: Tyson Scott (tyscott): The LSP generation maximum wait interval. This is used in the LSP generation interval for the LSP MTU. The default is 8000.
Note on H36: Tyson Scott (tyscott): The LSP generation second wait interval. This is used in the LSP generation interval for the LSP MTU. The default is 50.
Note on I36: Tyson Scott (tyscott): The SPF computation frequency initial wait interval. This is used in the SPF computations for the LSP MTU. The default is 50.
Note on J36: Tyson Scott (tyscott): The SPF computation frequency maximum wait interval. This is used in the SPF computations for the LSP MTU. The default is 8000.
Note on K36: Tyson Scott (tyscott): The SPF computation frequency second wait interval. This is used in the SPF computations for the LSP MTU. The default is 50.

## Fabric
BGP Route Reflectors
***Important Note*** - All Columns are Required Variables.
Type | Site_Group | Node_ID
bgp_rr | Grp_A | 101
DNS Resolution Management Domain
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Mgmt_EPG
dns_mgmt | Grp_A | oob_epg
DNS Servers
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | DNS_Server | Preferred
dns | Grp_A | 198.18.1.51 | no
dns | Grp_A | 198.18.1.52 | yes
Domains and Search Domains
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Domain | Default_Domain
domain | Grp_A | sub.example.com | yes
domain | Grp_A | example.com | no
NTP Servers
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | NTP_Server | Preferred | Mgmt_Domain
ntp | Grp_A | 198.18.1.51 | false | oob
ntp | Grp_A | 198.18.1.52 | true | oob
Smart Call Home
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | SMTP_Port | SMTP_Relay | Mgmt_Domain | From_Email | Reply_Email | To_Email | Phone_Number | Contact_Info
smartcallhome | Grp_A | 25 | cisco-smtp.example.com | oob | cust-aci-fabric@example.com | network-ops@example.com | network-ops@example.com | +1 408-555-5555 | Richfield Lab
SNMP Clients (Access Control)
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | SNMP_Client_Name | SNMP_Client | Mgmt_Domain
snmp_client | Grp_A | snmp-server1 | 198.18.1.61 | oob
snmp_client | Grp_A | snmp-server2 | 198.18.1.62 | oob
SNMP Communities
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | SNMP_Community | Description
snmp_comm | Grp_A | sensitive_var1 | Community String 1
snmp_comm | Grp_A | sensitive_var2 | Community String 2
SNMP Information
Notes: Assign a SNMP Contact per Site or for all Site(s). This Section is not required. Remove the Type Attribute to ignore this Section... But if any are defined the first line must have the attribute.
Type | Site_Group | SNMP_Contact
snmp_info | Grp_A | cust-lab@example.com
SNMP Traps
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Trap_Server | Destination_Port | Version | Community_or_Username | Security_Level | Mgmt_Domain
snmp_trap | Grp_A | 198.18.1.61 | 162 | v2c | sensitive_var1 | noauth | oob
snmp_trap | Grp_A | 198.18.1.62 | 162 | v3 | sensitive_var2 | priv | oob
SNMP Users
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | SNMP_User | Privacy_Type | Privacy_key | Authorization_Type | Authorization_Key
snmp_user | Grp_A | sensitive_var1 | aes-128 | sensitive_var1 | sha1 | sensitive_var1
snmp_user | Grp_A | sensitive_var2 | des | sensitive_var2 | md5 | sensitive_var2
snmp_user | Grp_A | sensitive_var3 | none | sensitive_var3 | sha1 | sensitive_var3
Syslog Destination Group
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Dest_Grp_Name | Minimum_Level | Log_Format | Console | Console_Level | Local | Local_Level | Include_msec | Include_timezone | Audit | Events | Faults | Session
syslog_dg | Grp_A | default | information | aci | enabled | critical | enabled | information | true | true | false | false | true | false
Remote Syslog Destinations
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Dest_Grp_Name | Syslog_Server | Port | Mgmt_Domain | Severity | Facility
syslog_rmt | Grp_A | default | 198.18.1.61 | 514 | oob | warnings | local7
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C3: Tyson Scott (tyscott): Node ID of the Spine to Assign as a Route Reflector
Note on A11: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B11: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C11: Tyson Scott (tyscott): Select inb_epg or oob_epg from the drop down. The Distinguished Name for this variable should be configured on the Mgmt_Tenant Worksheet
Note on A16: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B16: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A22: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B22: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A28: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B28: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A34: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B34: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A39: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B39: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A45: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B45: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C45: Tyson Scott (tyscott): SNMP Community String. The community/username must be a minimum of 8 characters and a maximum of 32 characters. It can contain only letters, numbers and the special characters of underscore (_), hyphen (-), or period (.). It cannot contain the @ symbol. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: SNMP_Community_{number} The Number will be based on the sensitive_var{number}
Note on D45: [Optional] Description to add to the Object
Note on A52: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B52: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A57: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B57: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A63: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B63: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on C63: Tyson Scott (tyscott): SNMP Username. The community/username must be a minimum of 8 characters and a maximum of 32 characters. It can contain only letters, numbers and the special characters of underscore (_), hyphen (-), or period (.). It cannot contain the @ symbol. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: SNMP_Community_{number} The Number will be based on the sensitive_var{number}
Note on E63: Tyson Scott (tyscott): SNMP User Privacy Key. The Privacy Key must be a minimum of 8 characters and a maximum of 32 characters. It can contain only letters, numbers and the special characters of underscore (_), hyphen (-), or period (.). It cannot contain the @ symbol. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: SNMP_Community_{number} The Number will be based on the sensitive_var{number}
Note on G63: Tyson Scott (tyscott): SNMP User Authorization Key. The Authorization Key must be a minimum of 8 characters and a maximum of 32 characters. It can contain only letters, numbers and the special characters of underscore (_), hyphen (-), or period (.). It cannot contain the @ symbol. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: SNMP_Community_{number} The Number will be based on the sensitive_var{number}
Note on A70: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B70: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A75: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B75: [REQUIRED] The Site or Group of Sites to run the script Against.

## Access
VLAN Pools
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Name | Allocation_Mode | VLAN_Grp1 | VGRP1_Allocation | VLAN_Grp2 | VGRP2_Allocation
vlan_pool | 1 | access | static | 1-100,101-199 | static | 1101-1199 | static
vlan_pool | 1 | dynamic | dynamic | 2100-2499 | dynamic
vlan_pool | 1 | inband | static | 911 | static
vlan_pool | 1 | l3out | static | 901 | static
vlan_pool | Grp_A | msite | static | 4 | static
vlan_pool | 2 | access | static | 1-100,201-299 | static | 1201-1299 | static
vlan_pool | 2 | dynamic | dynamic | 2500-2999 | dynamic
vlan_pool | 2 | inband | static | 912 | static
vlan_pool | 2 | l3out | static | 902 | static
Create Access Interface Policy Groups
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Name | AAEP | MTU | Speed | CDP | LLDP_Rx | LLDP_Tx | STP | Description
add_apg | Grp_A | inband | inband_aep | 9000 | inherit_Auto | yes | yes | yes | BPDU_ft_and_gd | APIC Inband Policy Group
add_apg | Grp_A | auto_jumbo | access_aep | 9000 | inherit_Auto | yes | yes | yes | BPDU_ft_and_gd | Access with Jumbo MTU
add_apg | Grp_A | auto_1500 | access_aep | 1500 | inherit_Auto | yes | yes | yes | BPDU_ft_and_gd | Access with Regular MTU
add_apg | Grp_A | auto_network | access_aep | 9000 | inherit_Auto | yes | yes | yes | BPDU_no_ft_or_gd | Network with ft and gd disabled
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A18: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B18: [REQUIRED] The Site or Group of Sites to run the script Against.

## Inventory
Inband Management for Sites
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Inband_VLAN | Inband_GW
inb_subnet | 1 | 911 | 198.18.11.1/24
inb_subnet | 2 | 912 | 198.18.12.1/24
APIC Inband Management IP's
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Name | Node_ID | Pod_ID | Inband_IP | Inband_GW
apic_inb | 1 | dc1-apic1 | 1 | 1 | 198.18.11.11/24 | 198.18.11.1
apic_inb | 2 | dc2-apic2 | 1 | 1 | 198.18.12.11/24 | 198.18.12.1
Add Switches to the Sites and Configure Inband and OOB Management IP's
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Serial | Name | Node_ID | Node_Type | Pod_ID | Switch_Role | Switch_Type | OOB_IP | OOB_GW | Inband_IP | Inband_GW
switch | 1 | TEP-1-103 | dc1-spine101 | 101 | unspecified | 1 | spine | 9508 | 198.18.1.101/24 | 198.18.1.1 | 198.18.11.101/24 | 198.18.11.1
switch | 1 | TEP-1-101 | dc1-leaf201 | 201 | unspecified | 1 | leaf | 93180YC-FX | 198.18.1.201/24 | 198.18.1.1 | 198.18.11.201/24 | 198.18.11.1
switch | 1 | TEP-1-102 | dc1-leaf202 | 202 | unspecified | 1 | leaf | 93180YC-FX | 198.18.1.202/24 | 198.18.1.1 | 198.18.11.202/24 | 198.18.11.1
switch | 2 | TEP-1-103 | dc2-spine101 | 101 | unspecified | 1 | spine | 9508 | 198.18.2.101/24 | 198.18.2.1 | 198.18.12.101/24 | 198.18.12.1
switch | 2 | TEP-1-101 | dc2-leaf201 | 201 | unspecified | 1 | leaf | 93180YC-FX | 198.18.2.201/24 | 198.18.2.1 | 198.18.12.201/24 | 198.18.12.1
switch | 2 | TEP-1-102 | dc2-leaf202 | 202 | unspecified | 1 | leaf | 93180YC-FX | 198.18.2.202/24 | 198.18.2.1 | 198.18.12.202/24 | 198.18.12.1
Define Modules (Only Needed for Modular Devices)
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Intf_Profile | Module_1 | Module_2 | Module_3 | Module_4 | Module_5 | Module_6 | Module_7 | Module_8 | Module_9 | Module_10 | Module_12 | Module_13 | Module_14 | Module_15 | Module_16
9508 | 1 | dc1-spine101 | X9732C-EX | X9736C-FX |  |  |  |  | X9732C-EX
9508 | 2 | dc2-spine101 | X9732C-EX | X9736C-FX
VPC Domains
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | VPC_ID | Name | Node1_ID | Node2_ID
vpc_pair | 1 | 201 | dc1-leaf201-202-vpc | 201 | 202
vpc_pair | 2 | 201 | dc2-leaf201-202-vpc | 201 | 202
Convert Uplinks to Downlinks
***Important Note*** - This is Currently not Supported.
Type | Site_Group | Name | Node_ID | Port
| 1 | leaf201 | 201 | 2/1
| 2 | leaf202 | 201 | 2/2
|  | leaf201 | 202 | 2/1
|  | leaf202 | 202 | 2/2
Create BreakOut Ports
***Important Note*** - This is Currently not Supported. Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Intf_Profile | Port | BreakOut_Name
| 1 | leaf201 | 2/1 | 4x10g_pg
| 2 | leaf202 | 2/2 | 4x10g_pg
|  | leaf201 | 2/1 | 4x10g_pg
|  | leaf202 | 2/2 | 4x10g_pg
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A9: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B9: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A20: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B20: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A38: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B38: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A48: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B48: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A60: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B60: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A70: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B70: [REQUIRED] The Site or Group of Sites to run the script Against.

## Admin
Configuration Backup
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Encryption_Key | Backup_Hour | Backup_Minute | Remote_Host | Mgmt_Domain | Protocol | Remote_Path | Port | Auth_Type | Username | Passwd_or_SSH_Pass | SSH_Key | Description
backup | Grp_A | cisco123cisco123 | 0 | 15 | lnx2.example.com | oob | sftp | /tmp | 22 | password | username | cisco123
RADIUS
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Login_Domain | RADIUS_Server | Port | Shared_Secret | Authz_Proto | Timeout | Retry_Interval | Mgmt_Domain | Domain_Order
radius | Grp_A | ISE | 198.18.1.71 | 1812 | sensitive_var1 | pap | 5 | 5 | oob | 1
radius | Grp_A | ISE | 198.18.1.72 | 1812 | sensitive_var2 | pap | 5 | 5 | oob | 2
TACACS+
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Login_Domain | TACACS_Server | Port | Shared_Secret | Auth_Proto | Timeout | Retry_Interval | Mgmt_Domain | Domain_Order
tacacs | Grp_A | ISEplus | 198.18.1.71 | 49 | sensitive_var1 | pap | 5 | 5 | oob | 1
tacacs | Grp_A | ISEplus | 198.18.1.72 | 49 | sensitive_var2 | pap | 5 | 5 | oob | 2
** Authentication Realm - Caution: Make sure to Verify Remote Authentication Functionality before changing the Default Realm from local **
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Auth_Realm | Login_Domain | Domain_Type
realm | Grp_A | console | ISEplus | tacacs
realm | Grp_A | default |  | local
Web Security
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Passwd_Strength | Enforce_Intv | Passwd_Intv | Number_Allowed | Passwd_Store | Lockout | Failed_Attempts | Time_Period | Dur_Lockout | Token_Timeout | Maximum_Valid | Web_Timeout
web_security | Grp_A | yes | enable | 48 | 2 | 5 | disable | 5 | 5 | 60 | 600 | 24 | 1200
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A9: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B9: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on F9: Tyson Scott (tyscott): The key or secret to secure communication to the RADIUS Server. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: RADIUS_Shared_Secret_{number} The Number will be based on the sensitive_var{number}
Note on A15: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B15: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on F15: Tyson Scott (tyscott): The key or secret to secure communication to the TACACS+ Server. Note: The value of this variable will be collected either as an environment variablel or as a variable in Terraform Cloud, dependent on what you defined on the Sites Worksheet. The Variable will be created in the variables file as follows: TACACS_Shared_Secret_{number} The Number will be based on the sensitive_var{number}
Note on A21: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B21: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on A27: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B27: [REQUIRED] The Site or Group of Sites to run the script Against.

## VMM
VLAN Pools
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Name | Allocation_Mode | VLAN_Grp1 | VGRP1_Allocation | VLAN_Grp2 | VGRP2_Allocation
vlan_pool | 1 | Access | static | 1-100,101-199 | static | 1101-1199 | static
vlan_pool | 1 | Dynamic | dynamic | 2100-2499 | dynamic
vlan_pool | 1 | Inband | static | 911 | static
vlan_pool | 1 | L3Out | static | 901 | static
vlan_pool | Grp_A | msite | static | 4 | static
vlan_pool | 2 | Access | static | 1-100,201-299 | static | 1201-1299 | static
vlan_pool | 2 | Dynamic | dynamic | 2500-2999 | dynamic
vlan_pool | 2 | Inband | static | 912 | static
vlan_pool | 2 | L3Out | static | 902 | static
Create Access Interface Policy Groups
***Important Note*** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Name | AAEP | MTU | Speed | CDP | LLDP_Rx | LLDP_Tx | STP | Description
add_apg | Grp_A | inband | inband_aep | 9000 | inherit_Auto | yes | yes | yes | BPDU_ft_and_gd | APIC Inband Policy Group
add_apg | Grp_A | auto_jumbo | access_aep | 9000 | inherit_Auto | yes | yes | yes | BPDU_ft_and_gd | Access with Jumbo MTU
add_apg | Grp_A | auto_1500 | access_aep | 1500 | inherit_Auto | yes | yes | yes | BPDU_ft_and_gd | Access with Regular MTU
add_apg | Grp_A | auto_network | access_aep | 9000 | inherit_Auto | yes | yes | yes | BPDU_no_ft_or_gd | Network with ft and gd disabled
Note on A3: Tyson Scott (tyscott): The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: Tyson Scott (tyscott): The Site or Group of Sites to run the script Against.
Note on A18: Tyson Scott (tyscott): The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B18: Tyson Scott (tyscott): The Site or Group of Sites to run the script Against.

## Networks
Create Networks
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
Type | Site_Group | Tenant | Bridge_Domain | BD_Description | BD_Policy | VRF | VRF_Tenant | Subnet | Subnet_Description | Subnet_Policy | L3Out | L3Out_Tenant | App_Profile | App_Policy | EPG | EPG_Description | EPG_Policy | VLAN | PVLAN
add_net | Grp_A | dmz | v0056 | Changing Back | L2_flood | dmz | common | [5 empty] | nets | default | v0056 | intersite-peering | default_vzany | 56
add_net | Grp_A | dmz | v0995 | Network Centric | L2_flood | dmz | common | [5 empty] | nets | default | v0995 | GW1_Path1 | default_vzany | 995
add_net | Grp_A | dmz | v0996 | Network Centric | L2_flood | dmz | common | [5 empty] | nets | default | v0996 | GW1_Path2 | default_vzany | 996
add_net | Grp_A | dmz | v0999 | Network Centric | L2_flood | dmz | common | [5 empty] | nets | default | v0999 | dirtyDMZ | default_vzany | 999
add_net | Grp_A | prod | v0001 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0001 |  | default_prfgrp | 1
add_net | Grp_A | prod | v0064 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0064 | OOBMgmt | default_prfgrp | 64
add_net | Grp_A | prod | v0080 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0080 | Vlan80 | default_prfgrp | 80
add_net | Grp_A | prod | v0087 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0087 |  | default_prfgrp | 87
add_net | Grp_A | prod | v0090 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0090 | markStephensLab | default_prfgrp | 90
add_net | Grp_A | prod | v0091 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0091 | paulMerlittiLab | default_prfgrp | 91
add_net | Grp_A | prod | v0110 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0110 | inBandMgmt | default_prfgrp | 110
add_net | Grp_A | prod | v0136 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0136 |  | default_prfgrp | 136
add_net | Grp_A | prod | v0168 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0168 | Wakanda-inband.L3Out | default_prfgrp | 168
add_net | Grp_A | prod | v0169 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0169 | Asgard-inband.L3Out | default_prfgrp | 169
add_net | Grp_A | prod | v0691 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0691 | Stprage | default_prfgrp | 691
add_net | Grp_A | prod | v0811 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0811 | Stretched_vl811 | default_prfgrp | 811
add_net | Grp_A | prod | v0812 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0812 | Loki | default_prfgrp | 812
add_net | Grp_A | prod | v0997 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0997 | coreL3Peer | default_prfgrp | 997
add_net | Grp_A | prod | v0998 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v0998 | coreL3Peer | default_prfgrp | 998
add_net | Grp_A | prod | v3001 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3001 | inside | default_prfgrp | 3001
add_net | Grp_A | prod | v3003 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3003 |  | default_prfgrp | 3003
add_net | Grp_A | prod | v3004 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3004 | ASE_Data | default_prfgrp | 3004
add_net | Grp_A | prod | v3006 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3006 |  | default_prfgrp | 3006
add_net | Grp_A | prod | v3007 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3007 |  | default_prfgrp | 3007
add_net | Grp_A | prod | v3011 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3011 |  | default_prfgrp | 3011
add_net | Grp_A | prod | v3019 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3019 |  | default_prfgrp | 3019
add_net | Grp_A | prod | v3103 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3103 | vMotion | default_prfgrp | 3103
add_net | Grp_A | prod | v3910 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3910 | east-common-tenant-l3 | default_prfgrp | 3910
add_net | Grp_A | prod | v3960 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3960 | Asgard.Common.HNB.L3Out | default_prfgrp | 3960
add_net | Grp_A | prod | v3961 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3961 | Wakanda.Common.HNB.L3Out | default_prfgrp | 3961
add_net | Grp_A | prod | v3962 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3962 | Wakanda.Mercy.L3Out | default_prfgrp | 3962
add_net | Grp_A | prod | v3963 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3963 | Asgard.Mercy.L3Out | default_prfgrp | 3963
add_net | Grp_A | prod | v3964 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3964 | Wakanda.HNB.L3Out | default_prfgrp | 3964
add_net | Grp_A | prod | v3965 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3965 | Asgard.HNB.L3Out | default_prfgrp | 3965
add_net | Grp_A | prod | v3966 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3966 | Asgard_Common_L3Out | default_prfgrp | 3966
add_net | Grp_A | prod | v3967 | Network Centric | L2_flood | prod | common | [5 empty] | nets | default | v3967 | Asgard-Infra | default_prfgrp | 3967
add_net | 1 | prod | sap_app | SAP App BD | L3_optimize | prod | common | 5.5.5.1/24 | SAP App Subnet | public | dc1-prod_L3 | common | sap_app | default | sap_app | SAP HANA - Application Services | default_prfgrp | 201
add_net | 1 | prod | sap_db | SAP DB BD | L3_optimize | prod | common | 2001:db8::/64 | SAP DB Subnet | public | dc1-prod_L3 | common | sap_db | default | sap_db | SAP HANA - Database Services | default_prfgrp | 202
add_net | 2 | prod | sap_app | SAP App BD | L3_optimize | prod | common | 5.5.5.1/24 | SAP App Subnet | public | dc2-prod_L3 | common | sap_app | default | sap_app | SAP HANA - Application Services | default_prfgrp | 201
add_net | 2 | prod | sap_db | SAP DB BD | L3_optimize | prod | common | 2001:db8::/64 | SAP DB Subnet | public | dc2-prod_L3 | common | sap_db | default | sap_db | SAP HANA - Database Services | default_prfgrp | 202
add_net | Grp_A | prod | sap_itg | SAP ITG BD | L3_optimize | prod | common | [5 empty] | sap_intg | default | sap_sda | SAP HANA - Smart Data Access | default_prfgrp | 203
add_net | Grp_A | prod | sap_itg |  | L3_optimize | prod | common | [5 empty] | sap_intg | default | sap_sdi | SAP HANA - Smart Data Integration | default_prfgrp | 204
add_net | Grp_A | prod | sap_itg |  | L3_optimize | prod | common | [5 empty] | sap_intg | default | sap_sds | SAP HANA - Smart Data Streaming (CEP) | default_prfgrp | 205
add_net | Grp_A | prod | sap_itg |  | L3_optimize | prod | common | [5 empty] | sap_intg | default | sap_rds | SAP HANA - Remote Data Sync | default_prfgrp | 206
add_net | Grp_A | prod | sap_itg |  | L3_optimize | prod | common | [5 empty] | sap_intg | default | sap_hdi | SAP HANA - Hadoop Integration | default_prfgrp | 207
Note on A3: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on B3: [REQUIRED] The Site or Group of Sites to run the script Against.
Note on E3: [Optional] Description to add to the Object
Note on J3: [Optional] Description to add to the Object
Note on Q3: [Optional] Description to add to the Object

## Network Policies
Application Profile Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | QoS Class | Monitoring Policy
Type | Policy_Name | annotation | name_alias | prio | monEPGPol
app | default |  |  | level3 | default
BD Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | General Configuration | [18 empty] | L3 Configurations |  |  |  |  | Multi-Site |  |  | Advanced/Troubleshooting
|  | Tags (comma seperated) | Global Alias | DHCP Relay Policy Association | Bridge Domain Type | Advertise Host Routes | Endpoint Clear | EP Move Detection Mode | L2 Unknown Unicast | L3 Unknown Multicast Flooding | IPv6 L3 Unknown Multicast | Multi Destination Flooding | PIM? | PIMv6? | IGMP Snooping Policy Association | ARP Flooding | Limit Local IP Learning to BD/EPG Subnet(s) | Endpoint Retention Policy Association | IGMP Snooping Policy Association | MLD Snoop Policy Association | Unicast Routing | Custom MAC Address | Route Profile Association | ND Policy Association | Link-local IPv6 Address | BD stretched to Remote Sites | Allow BUM traffic on Stretched BD | Optimize WAN Bandwidth | Monitoring Policy Association | First Hop Security Policy Association | Netflow Monitor Policies Association | IP Data-plane Learning
Type | Policy_Name | annotation | name_alias | dhcpRelayP | bd_type | host_routing | ep_clear | ep_move | unk_mac | unk_mcast | v6unk_mcast | multi_dst | mcast_allow | ipv6_mcast | igmpSnoopPol | arp_flood | limit_learn | fvEpRetPol | igmpSnoopPol | mldSnoopPol | unicast_route | mac | rtctrlProfile | ndIfPol | ll_addr | intersight_l2 | intersight_bum | optimize_wan | monEPGPol | fhsBDPol | netflowMonitorPol | ip_learning
bd | L2_flood |  |  |  | regular | no | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | no |  |  | default |  | no | no | no | default |  |  | yes
bd | L3_flood |  |  |  | regular | no | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | no |  |  | default |  | no | no | no | default | default |  | yes
bd | L3_host_flood |  |  |  | regular | yes | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | yes |  |  | default |  | no | no | no | default | default |  | yes
bd | L2_stretch_flood |  |  |  | regular | no | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | no |  |  | default |  | yes | yes | no | default |  |  | yes
bd | L3_stretch_flood |  |  |  | regular | no | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | yes |  |  | default |  | yes | yes | no | default | default |  | yes
bd | L3_stretch_host_flood |  |  |  | regular | yes | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | yes |  |  | default |  | yes | yes | no | default | default |  | yes
bd | L2_optimize |  |  |  | regular | no | no | garp | proxy | flood | flood | bd-flood | no | no | default | no | yes | default | default | default | no |  |  | default |  | no | no | no | default |  |  | yes
bd | L3_optimize |  |  |  | regular | no | no | garp | proxy | flood | flood | bd-flood | no | no | default | no | yes | default | default | default | yes |  |  | default |  | no | no | no | default | default |  | yes
bd | L3_host_optimize |  |  |  | regular | yes | no | garp | proxy | flood | flood | bd-flood | no | no | default | no | yes | default | default | default | yes |  |  | default |  | no | no | no | default | default |  | yes
bd | L2_stretch_optimize |  |  |  | regular | no | no | garp | proxy | flood | flood | bd-flood | no | no | default | no | yes | default | default | default | no |  |  | default |  | yes | yes | yes | default |  |  | yes
bd | L3_stretch_optimize |  |  |  | regular | no | no | garp | proxy | flood | flood | bd-flood | no | no | default | no | yes | default | default | default | yes |  |  | default |  | yes | yes | yes | default | default |  | yes
bd | L3_stretch_host_optimize |  |  |  | regular | yes | no | garp | proxy | flood | flood | bd-flood | no | no | default | no | yes | default | default | default | yes |  |  | default |  | yes | yes | yes | default | default |  | yes
EIGRP Interface Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | General Configuration | [18 empty] | L3 Configurations |  |  |  |  | Multi-Site |  |  | Advanced/Troubleshooting
|  | Tags (comma seperated) | Global Alias | DHCP Relay Policy Association | Bridge Domain Type | Advertise Host Routes | Endpoint Clear | EP Move Detection Mode | L2 Unknown Unicast | L3 Unknown Multicast Flooding | IPv6 L3 Unknown Multicast | Multi Destination Flooding | PIM? | PIMv6? | IGMP Snooping Policy Association | ARP Flooding | Limit Local IP Learning to BD/EPG Subnet(s) | Endpoint Retention Policy Association | IGMP Snooping Policy Association | MLD Snoop Policy Association | Unicast Routing | Custom MAC Address | Route Profile Association | ND Policy Association | Link-local IPv6 Address | BD stretched to Remote Sites | Allow BUM traffic on Stretched BD | Optimize WAN Bandwidth | Monitoring Policy Association | First Hop Security Policy Association | Netflow Monitor Policies Association | IP Data-plane Learning
Type | Policy_Name | annotation | name_alias | dhcpRelayP | bd_type | host_routing | ep_clear | ep_move | unk_mac | unk_mcast | v6unk_mcast | multi_dst | mcast_allow | ipv6_mcast | igmpSnoopPol | arp_flood | limit_learn | fvEpRetPol | igmpSnoopPol | mldSnoopPol | unicast_route | mac | rtctrlProfile | ndIfPol | ll_addr | intersight_l2 | intersight_bum | optimize_wan | monEPGPol | fhsBDPol | netflowMonitorPol | ip_learning
eigrp | L2_flood |  |  |  | regular | no | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | no |  |  | default |  | no | no | no | default | default |  | yes
eigrp | L3_flood |  |  |  | regular | no | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | no |  |  | default |  | no | no | no | default | default |  | yes
eigrp | L3_host_flood |  |  |  | regular | yes | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | yes |  |  | default |  | no | no | no | default | default |  | yes
eigrp | L2_stretch_flood |  |  |  | regular | no | no | garp | flood | flood | flood | bd-flood | no | no | default | yes | yes | default | default | default | no |  |  | default |  | yes | yes | no | default | default |  | yes
EPG Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | Use Comma to separate multiple domains | Use Comma to separate multiple domains | Consumer Contracts Policy | Consumed Contract Interface Policy | EPG Contract Master | Provider Contracts Policy | Provider Default | Taboo Contract Policy | Contract Exception Tag | uSeg EPG | QoS Class | Custom QoS | Data-Plane Policer | Intra EPG Isolation | Intra-EPG Contract | Forwarding Control | Preferred Group Member | Flood on Encapsulation | Label Match Criteria | Monitoring Policy | FHS Trust Control Policy | shutdown | Has Multicast Source | Don't Know
Type | Policy_Name | annotation | name_alias | Physical_Domains | VMM_Domains | cons_vzBrCP | vzCPIf | Master_fvEPg | prov_vzBrCP | vzCtrctEPgCont | vzTaboo | exception_tag | is_attr_based | prio | qosCustomPol | qosDppPol | pc_enf_pref | intra_vzBrCP | fwd_ctrl | pref_gr_memb | flood | match_t | monEPGPol | fhsTrustCtrlPol | shutdown | has_mcast | vzGraphCont
epg | default_vzany |  |  | access_phys | [8 empty] | no | level3 |  |  | enforced |  | none | exclude | disabled | AtleastOne | default |  | no | no
epg | default_prfgrp |  |  | access_phys | [8 empty] | no | level3 |  |  | enforced |  | none | include | disabled | AtleastOne | default |  | no | no
External EPG Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | Consumer Contracts Policy | Consumed Contract Interface Policy | EPG Contract Master | Provider Contracts Policy | Taboo Contract Policy | Contract Exception Tag | QoS Class | Target DSCP | Preferred Group Member | Subnet Match Criteria | Flood on Encapsulation | Route Profile
Type | Policy_Name | epg_annotation | epg_name_alias | cons_vzBrCP | vzCPIf | Master_fvEPg | prov_vzBrCP | vzTaboo | exception_tag | prio | epg_target_dscp | pref_gr_memb | match_t | flood | rtctrlProfile
ext_epg | default | [8 empty] | level3 | unspecified | exclude | AtleastOne | disabled
ext_epg | default_prfgrp | [8 empty] | level3 | unspecified | exclude | AtleastOne | disabled
L3Out Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | Route Control Enforcement | Target DSCP | Route Profile for Interleak | Route Profile for Dampening | Unsupported by the Script Today
Type | Policy_Name | annotation | name_alias | enforce_rtctrl | target_dscp | leak_rtctrlProfile | damp_rtctrlProfile | fvBDPublicSubnetHolder
l3Out | default |  |  | export | unspecified
Node Profile Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | Configuration Issues | DSCP Value | Tag to Assign
Type | Policy_Name | annotation | name_alias | config_issues | dscp | tag
nodep | default |  |  | none | unspecified | yellow-green
Node Interface Profile Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | MTU | QoS Priority | Tag to Assign | ARP Interface Policy | Egress Data Plane Policing Policy | Ingress Data Plane Policing Policy | Custom QoS Policy | Neighbor Discovery Policy | NetFlow Monitor Policies
Type | Policy_Name | annotation | name_alias | mtu | prio | tag | arpIfPol | egress_qosDppPol | ingress_qosDppPol | qosCustomPol | ndIfPol | netflowMonitorPol
node_intf | default |  |  | 9000 | unspecified | yellow-green
node_intf | msite |  |  | 9150 | unspecified | yellow-green
OSPF Interface Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | OSPF Area Control Send redistributed LSAs into NSSA area (redistribute) Originate summary LSA (summary) Suppress forwarding address in translated LSA |  |  | Interface Controls - Advertise Subnet, BFD, MTU Ignore, Passive Particiation |  |  |  | Authentication Type | Authetnication Key | Hello Interval (sec) | Dead Interval (sec) | Retransmit Interval (sec) | Transmit Delay (sec) | Prefix Suppression
Type | Policy_Name | annotation | name_alias | Area_Cost | Send | Originate | adv_sub | bfd | mtu_ignore | passive | auth_type | auth_key | hello_intvl | dead_intvl | rexmit_intvl | xmit_delay | pfx_suppress
ospf_pol | default |  |  | 1 | yes | yes | yes | yes | yes | no | No authentication | 1 | 10 | 40 | 5 | 1 | inherit
Subnets Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | ctrl |  |  | Make this IP address primary | Scope | Treat as virtual IP address | Route Profile | ND RA Prefix Policy
Type | Policy_Name | annotation | name_alias | nd | no-default-gateway | querier | preferred | scope | virtual | rtctrlProfile | ndPfxPol
subnet | private |  |  | yes | no | no | no | private | no
subnet | public |  |  | yes | no | no | no | public | no
subnet | private-shared |  |  | yes | no | no | no | private-shared | no
subnet | public-shared |  |  | yes | no | no | no | public-shared | no
(External) Subnets Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | Route Control Export route control is disabled by default at the L3Out level. You must enable it on the L3Out to use it here. |  |  |  |  | Aggregate Route Control Export Route control is disabled by default at the L3Out |  |  | Route Control Profile | BGP Route Summarization Policy
Type | Policy_Name | sub_annotation | sub_name_alias | export-rtctrl | import-rtctrl | import-security | shared-security | shared-rtctrl | agg-export | agg-import | agg-shared | sub_rtctrlProfile | rtsumARtSummPol
ext_subnet | default |  |  | no | no | yes | no | no | no | no | no
VRF Policies
**Important Note** - Please Refer to the "Excel Spreadsheet Guidance" PDF in the Project Root Directory for Guidance.
|  | Tags (comma seperated) | Global Alias | Policy Control Enforcement Preference | Policy Control Enforcement Direction | BD Enforcement Status | Enforcement Type | Consumer Contracts Policy | Consumed Contract Interface Policy | Provider Contracts Policy | BGP Timers | BGP Context Per Address Family Timers | OSPF Timers | OSPF Context Per Address Family | Endpoint Retention Policy Association | Monitoring Policy Association | EIGRP Context Per Address Family Timers | Transit Route Tag Policy | IP Data-plane Learning | Known Multicast Allow | I Don’t Know what this is
Type | Policy_Name | annotation | name_alias | pc_enf_pref | pc_enf_dir | bd_enforce | enf_type | cons_vzBrCP | vzCPIf | prov_vzBrCP | bgpCtxPol | bgpCtxAfPol | ospfCtxPol | ospfCtxAfPol | fvEpRetPol | monEPGPol | eigrpCtxAfPol | l3extRouteTagPol | dp_learning | knw_mcast_act | l3extVrfValidationPol
VRF | default_ct |  |  | enforced | ingress | no | contract |  |  |  | default | default | default | default | default | default | default |  | enabled | permit | default
VRF | default_pg |  |  | enforced | ingress | no | pref_grp | [7 empty] | default | default |  |  | enabled | permit
VRF | default_vzany |  |  | enforced | ingress | no | vzAny | data.aci_contract.default.id |  | data.aci_contract.default.id | default | default | default | default | default | default | default |  | enabled | permit | default
Note on A4: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A12: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A32: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A41: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A58: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A75: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A84: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A93: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A102: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A111: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A124: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.
Note on A137: The Script will run on this section if the type is set to the value from the drop down If you want a line to be ignored remove the type field on the line. The line following the Column Titles must not be blank.

## formulas
switch_role | leaf | spine | Spine Type | Spine Modules | tag | DSCP
leaf | 93108TC-EX | 9316D-GX | 9504 | X9716D-GX | alice-blue | AF11
spine | 93108TC-FX | 9332C | 9508 | X9732C-EX | antique-white | AF12
| 93120TX | 9332D-GX2B | 9516 | X9736C-FX | aqua | AF13
| 9316D-GX | 9336PQ | 9396 | X9736PQ | aquamarine | AF21
| 93180YC-EX | 9364C |  | M4PC-CFP2 | azure | AF22
| 93180YC-FX | 9364C-GX |  | M6PQ | beige | AF23
| 93180YC-FX3S | 9364D-GX2A |  | M12PQ | bisque | AF31
| 93216TC-FX2 | 93600CD-GX |  |  | black | AF32
| 93240YC-FX2 | 9504 |  |  | blanched-almond | AF33
| 9332D-GX2B | 9508 |  |  | blue | AF41
| 9336C-FX2 | 9516 |  |  | blue-violet | AF42
| 93360YC-FX2 |  |  |  | brown | AF43
| 9348GC-FXP |  |  |  | burlywood | CS0
| 9364C-GX |  |  |  | cadet-blue | CS1
| 9364D-GX2A |  |  |  | chartreuse | CS2
| 93600CD-GX |  |  |  | chocolate | CS3
| 9396PX |  |  |  | coral | CS4
[5 empty] | cornflower-blue | CS5
[5 empty] | cornsilk | CS6
[5 empty] | crimson | CS7
[5 empty] | cyan | EF
[5 empty] | dark-blue | VA
[5 empty] | dark-cyan | unspecified
dark-goldenrod
dark-gray
dark-green
dark-khaki
dark-magenta
dark-olive-green
dark-orange
dark-orchid
dark-red
dark-salmon
dark-sea-green
dark-slate-blue
dark-slate-gray
dark-turquoise
dark-violet
deep-pink
deep-sky-blue
dim-gray
dodger-blue
fire-brick
floral-white
forest-green
fuchsia
gainsboro
ghost-white
gold
goldenrod
gray
green
green-yellow
honeydew
hot-pink
indian-red
indigo
ivory
khaki
lavender
lavender-blush
lawn-green
lemon-chiffon
light-blue
light-coral
light-cyan
light-goldenrod-yellow
light-gray
light-green
light-pink
light-salmon
light-sea-green
light-sky-blue
light-slate-gray
light-steel-blue
light-yellow
lime
lime-green
linen
magenta
maroon
medium-aquamarine
medium-blue
medium-orchid
medium-purple
medium-sea-green
medium-slate-blue
medium-spring-green
medium-turquoise
medium-violet-red
midnight-blue
mint-cream
misty-rose
moccasin
navajo-white
navy
old-lace
olive
olive-drab
orange
orange-red
orchid
pale-goldenrod
pale-green
pale-turquoise
pale-violet-red
papaya-whip
peachpuff
peru
pink
plum
powder-blue
purple
red
rosy-brown
royal-blue
saddle-brown
salmon
sandy-brown
sea-green
seashell
sienna
silver
sky-blue
slate-blue
slate-gray
snow
spring-green
steel-blue
tan
teal
thistle
tomato
turquoise
violet
wheat
white
white-smoke
yellow
yellow-green